WINNOW 1.2/2.1

User’s guide

This document covers a subset of the material in the Winnow 2.1 online Help file winnow2.hlp. It was last modified 17 June, 1997. Its purpose is to provide a guide to (a) the data processing functions, (b) utilities that are common to both the Dos and Win 32 versions of Winnow. The graphical display functions of Winnow 2.1 are discussed in the online Help file.

HELP TOPICS

0. What’s new in Winnow 1.2

1. Introduction

2. Query language

3. Filtering

4. Averaging

5. Collating

6. Format Columns Operation

7. Convert

8. Clear History

9. PRISM

10. File Finder

11. Spectrum

12. Split

13. Splice

14. Scattering Relations

15. Size Limits

16. File Formats

17. Command Viewer

18. Appendix: Query Examples

0. WHAT’S NEW IN WINNOW 1.2/2.1?

The answer for Dos users (version 1.2) is: not much! More effort has been expended on developing the graphical  capabilities of Winnow 2.1 (Win 95).

In the documentation, the interpreted language that Winnow uses is now called a “query language” rather than a “macro language”, following the database terminology. The following changes to Winnow and the query language have been made:

- New predefined angular variables are introduced: alt (altitudinal angle in rad.), and phi (azimuthal angle in rad.), altd (altitudinal angle in degrees), and phid (azimuthal angle in degrees).

- The record size used by SNK files has changed from 36 bytes to 40 bytes to accommodate larger integer values (in the row number and run number fields).

Query language expressions can now be used by Spider (for  conditional user-defined output expressions in the Run file), so this document also supports that aspect of Spider.

1. INTRODUCTION

The WINNOW utility is used to process the output files (.SNK) produced by the SNOOK program. Processing might typically involve extracting average values for state variables over a number of collision configurations (e.g. sputter coefficients, scattering cross-sections), or it might involve creating trajectory plots destined for graphical representation.

Dynamical variables information characterising your system was written to a .SNK file when you ran SNOOK. The .SNK file captures the following dynamical variables information:

- position (rx,ry,rz)

- momentum (px,py,pz)

- elapsed time (ti)

- mass (ms)

- two integer indexes (rw,rn) labelling the atom involved (rw = row of .TRG file) and the run involved (rn = row of .IMP file, corresponding to a particular value of the collision impact parameter).

A typical .SNK file will contain information from more than one run (perhaps hundreds). The structure of the file is represented in the following diagram (where each line represents one dynamical variables record; the meaning of the rn and rw parameters is also illustrated:

------   atom 0, run 1 (projectile: rw = 0)

rn = 1

------   atom 1, run 1 (1st target atom: rw = 1 )

------   atom 2, run 1 (2nd target atom: rw = 2)

......

------   atom N, run 1 (last target atom: rw = N)

------   atom 0, run 2

rn = 2

------   atom 1, run 2

......

------   atom N, run 2

------   atom 0, run 3

------   atom 1, run 3

[.. and so on, down to last atom of last run ]

Information from this file can now be extracted by WINNOW according to your requirements. There are two steps to this process.

- Firstly, you must filter out all the irrelevant records from your .SNK file. For example, you might only be interested in sputtered particles, or fast-moving particles, or you might only be interested in the projectile trajectory. This operation is conceptually similar to the filtering of records in a relational database.

- Then you can use WINNOW’s math parser to convert your informational requirements into data-processing directives. For example, you may wish to query the mean energy of sputtered particles, or determine the average polar emission angle, or find the projectile range. If the quantity can be expressed algebraically, WINNOW can probably get at it.

Before trying to carry out these operations, you need to familiarise yourself with the symbols in WINNOW’s query language(rx, px, ke, the, phi etc.). Winnow (2.1) also provides “Genius” functions that enable you make up queries and expressions, even if you do not know the language.

It should be mentioned that WINNOW offers the option of dumping all the data in a .SNK file into a file of text format. Such text files can be loaded directly into spreadsheet programs (e.g. Excel), database programs (e.g. dBase) or statistical programs (like SPSS). If you find WINNOW’s query language baffling, this would be an alternative way of processing your simulation data.

2. QUERY LANGUAGE

2.1. Introduction

This section describes the query language used by WINNOW.

Predefined indentifiers allow you to access the values of the variables (and certain functions of the variables) contained in the records of a SNK file. (They are also used to store constants.)

WINNOW’s query language allows you to customise output as required for your particular application. To do this, you need to specify what functions of dynamical variables (in terms of rx,ry,rz,px...rn,rw) you wish WINNOW to produce.

Logical expressions required by the Filter operation are likewise specified by combining query expressions with relational operators (=, >, >=, etc) .

The query notation will be quite transparent to anyone with elementary programming or database experience . Most variables of interest can be accessed via predefined identifiers. For example: use either ‘lz’ or ‘rx*py - ry*px’ to represent the z-component of the angular momentum.

2.2. Syntax

Case is ignored. Upper, lower or mixed case letters may be used for any input line symbol (px or Px or PX). Blank characters between valid symbols are ignored (px*px or px * px). The maximum length of the input line is 255 characters.

Comments may be nested between curly braces {like this}. Comments are useful as mnemonics in case you want to re-load the expression from a dialog box history list on a future occasion. Also, the comment will be printed in the output file if you use WINNOW’s Averages or  Collate options. Like blank characters, comments are ignored by the parser: px*px {Here’s a comment}

2.3. Predefined identifiers

The following predefined identifiers denote (x,y,z) components of vector dynamical variables (always expressed in SI units):

- rx ry rz  = position

- vx vy vz  = velocity

- px py pz  = momentum

- lx ly lz  = angular momentum

Other predefined identifiers (all in SI units) are:

- ti = time elapsed (t = 0 at the start of a simulated trajectory)

- ms = mass

- ke = kinetic energy

- phi, alt,phid,altd = azimuthal and polar angles (see notes below)

- rw,rn: see notes below

The symbol "phi" represents the particle's azimuthal direction of motion (f), defined by:

phi = arctan(py/px)

The range of phi is from 0 - 2p rad (unlike the "atan" function, which maps to a value in the range -p/2 to +p/2, this routine assigns the angle to the correct quadrant, even if px = 0). To express “phi” in degrees use the identifier “phid”.

The symbol "alt" (altitude) represents the particle's altitudinal direction of motion (j), defined by:

alt = arctan(pz/Ö(px²+py²))

The range of "alt" is from  -p/2 - p/2. If (px²+py²) = 0, then "alt" =  -p/2 or +p/2 (motion parallel to z-axis). If pz is negative, then “alt” is also negative. To express “alt” in degrees use the identifier “altd”.

The identifiers rw (row index) and rn (run number) are recognised.  In contrast, to the dynamical variables, rw and rn only take on integral values:

- rw identifies the atom’s position in the original .TRG file used for the simulation (rw = 0 for the projectile (which is not in the .TRG file), rw = 1 for its initial collision partner, rw=2 for the next atom in the file and so on)

- rn references a row in the .IMP file (rn = 1 for the run that used the 1st line of this file to define the impact parameter)

Constants with predefined identifiers are:

- pi  = p

- ep  = the proton charge (1.602x10-19 C)

All quantities in the .SNK file are expressed in SI units. To express a kinetic energy in eV you would need to form the expression ‘ke/ep.’

2.4. Arithmetic Operators and Arithmetic Expressions

The predefined identifiers (see above) may be combined in expressions with decimal numbers in integer or floating point notations (i.e. 35, 35.0, 3.5e10), bracket symbols (), and the arithmetic operators (* / + -). The syntax rules for forming expressions conform with those used in many programming languages:

- The elementary arithmetic operators are supported: + - * / ()

- Exponentiation is carried out using the caret (^) symbol e.g. px*px*px = px^3

- Blank spaces are ignored

Here are some examples of valid arithmetic expressions:

ke/ep                 {kinetic energy in eV }

ke /    ep            {kinetic energy in eV: blanks ignored }

px*px+py*py+pz*pz)/2/ms    { kinetic energy,equiv. to ‘ke’ }

-lz + lx                   { equivalent to ‘lx-lz’ }

2.3*(rx*rx+2*ry*ry)/(1.3+6.5){arbitrary numerical expression}

rw + 1   { an integer expression; see sect. 2.8 }

rw + 1.0 { a real number expression (meaningless) }

2.5. Functions

Functions are supported, via a Pascal-style syntax: ‘function(arg)’, where the argument in brackets (arg) must resolve to a real number expression . (Integer expressions can be typecast, if necessary, by multiplying by 1.0.) There are probably more functions than you will ever need. All trigonometric functions use radians for angular units.

The following functions are supported:

- sin = sine  of angle e.g.  ‘sin (2*pi*rx)’

- cos = cosine

- tan = tangent

- atan  = arctangent (inverse tangent)

- exp = exponential  e.g. ‘exp(-rx/300)’

- ln  = logarithm to base e

- log = logarithm to base 10

- abs = absolute value (modulus)  e.g. ‘abs(lx)’

- sqrt = square root  e.g. ‘sqrt(rx*rx+ry*ry+rz*rz)’

The following examples are physically meaningless, but illustrate how the real number syntax works for rw (or rn):

sin(3*rw): invalid   - integer argument

sin(1.0*3*rw): valid   - argument is ‘typecast’ to real expression

sqrt(rx + 1) : valid - mixed expression (‘1’ is integer, rx is real) is typecast to real

2.6. Logical expressions

Logical expressions  arise only in connection with the Filter operation. As with arithmetic expressions, blank spaces are ignored in logical expressions and may be used to improve readability. All logical expressions must be enclosed in square brackets [] (which may be nested to any depth, as needed).

Logical expressions involve comparisons (“relations”) between two arguments A and B, which may be any valid arithmetic expression involving rx, ry, rz, vx, vy, vz, px, py, pz, ti, ke, ms, ep, pi, as defined in preceding sections.

Depending on the values of the expressions (A,B) in brackets, and the nature of the comparison, any given logical expression will resolve to one of two values, either TRUE or FALSE.

A simple example would be the following expression: [rz > 0.0]. Only when the expression is evaluated to a TRUE value does the Filter option initiate action (write data to disk). In this example, data are only stored for those particles which are above the target surface (defined by z = 0.0). To express this idea in database terminology: the expression enclosed by square brackets [...] constitutes a relation which must be satisfied by any record which is written to the output file. What the preceding example has achieved is to filter out (isolate) data for ejected particles from the .SNK file and store it in a new .SNK file. This filtered data can then be processed further e.g. to generate an energy spectrum of ejected particles.

2.7. Logical and relational operators

The relational operators =, <, >, >=, <=, <> are recognised, with the following meanings:

- [A = B]  TRUE if A equal to B

- [A > B]  TRUE if A greater than B

- [A < B]  TRUE if A less than B

- [A >= B] TRUE if A greater than or equal to B

- [A <= B] TRUE if A less than or equal to B

- [A <> B] TRUE if A not equal to B

The arithmetic expressions involved in the comparison must either be both real or both integer expressions (see section 2.8). Logical expressions may be combined using the ‘&’ (logical AND) and ‘|’ (logical OR) operators. The following examples illustrate the syntax, but it would not be sensible to use these expressions for filtering because they always resolve to the same value:

[1=1] & [2=2]     {TRUE}

[1=1] & [px > px] {FALSE}

[1=1]|[2=3]       {TRUE}

[1=2]| [2=3]      {FALSE}

[1=2] | [px = px] {TRUE}

A realistic example of filtering is the following:

[ke/ep > 10.0] { particle KE > 10 eV }.

An example of a meaningless comparison with invalid syntax is:

[ke/ep > rw] { ERROR: rw is an integer! }.

Any logical expression may be negated using the ‘!’ (NOT) operator:

[1=1]     {TRUE}

![1 = 2]  {also TRUE}

Again, it is stressed that blank spaces are ignored by the parser.  The ‘=’ sign or some other relational operator must be present inside the brackets, as the logical expression always involves a comparison.

Here are more examples of valid logical expression syntax:

[pz*pz/2*m > 10*ep] & [ [rz > 0.0] | [pz > 0.0] ]

The above expression is TRUE if kinetic energy associated with motion normal to surface is > 10 eV and the particle is either outside the surface (z > 0) or is travelling towards the surface (in a positive z direction). Note the way brackets are used to nest sub-expressions.

[atan(pz/sqrt(py*py+px*px)) > 50*2*pi/360] & [rz > 0.0]

The above expression is TRUE if the particle has left the surface and is travelling at an angle of > 50°, referred to the surface normal. This example shows a typical use of the arctangent function. A better way to express this (new in Winnow 1.2)  is:

[altd > 50.0] & [rz > 0.0]

The Appendix contains more examples of Filter expressions.

2.8. Numeric types

Two numeric types are recognised: ‘integer’ and ‘real’ (floating point) types. Enforcing type distinctions in syntax helps to avoid certain kinds of semantic and physical errors which might otherwise go unnoticed. The conventions outlined below are similar to those found in most programming languages.

- The predefined identifiers rw, rn and all numbers written in integer format (0, 1, -1..) are treated as integer-type numbers.

- All other numbers, variables and constants are of real-type.

- Mixed integer-real expressions (2*pz, 1+1.0 etc.) are automatically cast to real-type.

- Arguments passed to functions must be in real format (this can always be enforced by typecasting: multiplying by 1.0):

- exp(10) {invalid}

- exp(1.0*10)valid}

- Both sides of a relational expression must be of identical type:

[3 > 2]       {TRUE}

[3.0 > 2]     {syntax error:can’t compare real with integer}

[3.0 > 2.0]   {TRUE}

[3*1.0 > 2.0] {TRUE - left hand side is typecast to real }

- Otherwise the type identity of expressions is the same as that of the constituents, except for integer division (which always results in a real number).

rw*2 + 1   {integer}

2*pz + 3   {real}

rw*2 + 1.0 {real}

rw/2 + 1   {real - integer division}

2.9. Parser errors

Most common parser errors are syntax errors and arithmetic errors (divide by zero etc.). The parser error message will indicate the point (^) in the input expression at which it detected an error. E.g., for the Filter option input:

Example 1:

[px > 0]

^

The pointer indicates character #8 reading from the left. The parser expected a floating point number (such as 0.0) rather than an integer, but only detected an error when it encountered the ‘]’ character.  Solution: change ‘0’ to ‘0.0’.

Example 2:

2.0*px > 3e-20]

^

The parser evaluates both the missing ‘[’ and the real number ‘2.0’ as atomic tokens. It expects to find the pattern BRACKET REAL, rather than REAL, and indicates an error at the end of the illegal REAL token. Solution: add missing ‘[’ before ‘2.0’.

To get a feel for the error-response of the parser, you could try feeding it some deliberate errors (e.g. ‘px*px + px**px’).

Common syntax errors include:

- using x,y,z instead of rx,ry,rz;

- opening parentheses ‘(‘ ‘[’ without later closing them;

- using integers in places where real numbers are expected.

If the cause of the error is not obvious, try simplifying the expression until it parses correctly. Remember that no program can protect you against logical errors. A typical non-syntactical error in this category is forgetting to couch the expression in SI units.

3. FILTERING

The key to getting at the information contained in .SNK files is the Filter option, which discards unwanted data from your raw .SNK file. Put simply, you select the data which you want to examine further, and store it in a new file.

For example, suppose you are interested in the fraction of sputtered atoms with energy above 1 eV; a sputtered atom is defined as one that is moving away from the surface [pz > 0.0] and is above the surface beyond interaction range (say 4 Å) [rz > 4.0e-10]. These conditions, plus the 1 eV energy condition [ke/ep > 1.0], can be expressed in WINNOW’s query language as the following relational expression:

[rz > 4.0e-10] & [pz > 0.0] & [ke/ep > 1.0]

This expression is translated by WINNOW’s parser into computational directives. The output is sent to a new .SNK file (the default name contains the tilde ‘~’ character). If you feed the above expression to WINNOW’s Filter option, it will filter out all data that doesn’t satisfy the condition.  You can then proceed to Average or Collate the data written in the new file, or Filter it again according to some other criteria.

Filtering a  large file is quite a slow operation, even on a fast Pentium PC.

Here are some further examples of the use of logical expressions (note the nesting of brackets in the composite expressions C and D):

(A). Filter out (discard) projectile data:

Use filter condition: ‘[rw > 0]’.

(B). Filter out atoms (discard) with less than 10 eV kinetic energy:

Use filter condition: ‘[ke/ep >= 10.0]’.

C. Keep data for ejected atoms with ke > 0.5 eV only.

Use filter condition: ‘[pz > 0.0] & [rz > 0.0] & [ke/ep > 0.5]’.

D. Combine Filter with Collate to determine origins of ejected atoms:

(1) Filter with condition: ‘[pz > 0.0] & [rz > 0.0]’.

(2) Subsequently, a ‘Collate’ operation on the atom-by-atom basis gives the total number of ‘hits’ satisfying this condition. In other words, we obtain a breakdown of the ejected atom population by ‘row number’ (the parameter rw, which identifies the atom with reference to its position in the .TRG file: see section 1). The collation function used in this case is irrelevant, as we are simply counting atoms.

4. AVERAGING

The Averages operation calculates statistical information based on the entire .SNK input file. The user defines some function (let’s call it q) of the system dynamical variables (r,p,t,ms,rw,rn); then, the Averages operation writes a line of output based on this function, which consists of the mean value (<q>), root mean square (rms) value (Ö<q²>), and the standard deviation (sq) of q  respectively:

<q>     Ö<q²>      sq.

Up to 7 such functions can be specified. The output is written to a file with .TXT extension e.g. DYNVARS.SNK => DYNVARS.TXT.

For example, you might wish to calculate the mean x-velocity of sputtered atoms: simply enter ‘vx’ on the input line. Then for this case <q> = <vx>, while Ö<q²> corresponds to the rms velocity.

If a .TXT file of the same name already exists, the output is appended to the existing file. This is in contrast to the over-write behaviour of the Collate operation.

Normally the averaging would be carried out after the .SNK file has been filtered (see section 3) to remove unwanted data.

5. COLLATING

The Collate operation calculates statistical averages on an atom-by-atom, or run-by-run basis, according to the user’s specifications. To use it, you need to have some idea of the information content of the .SNK file.

In the atom-by-atom case, the output data is collated according to the ‘row number’ (rw) index (see section 1). This represents an average over particles.

In the run-by-run case, the ‘run number’ index (rn) from the .IMP files is used as the collation key. This represents an ensemble (configuration) average.

The collated averages <..> are output to a .DAT file with a column lay-out which has a layout similar to that of an ‘Average’file:

<q>     Ö<q²>      sq      key     hits

where:

q = the expression input by the user

sq = (std. deviation of q)

key = rw or rn (row number or run number, as selected by user)

hits = number of data used for averages

Collated output overwrites the contents of any appropriately named .DAT file that may exist. E.g. collating DYNVARS.SNK sends output by default to DYNVARS.DAT; if the latter already exists, it is overwritten.

The atom-by-atom average could be used to determine (say) which atoms were sputtered most frequently in a real-life experiment (which is averaged over all impact parameters).

The run-by-run average may be useful in establishing how individual configurations contribute to the overall behaviour. If the .SNK file only contains data from a single run then the run-by-run average is equivalent to the Averages option. (In fact, the Averages option is equivalent to collating by both rw and rn simultaneously.)

You specify what function of dynamical variables gets written to the collated file using WINNOW’s query language (section 2).  For example, ‘px*px’ represents the square of the x-momentum component.

6. FORMAT COLUMNS OPERATION

This option performs a simple conversion of a binary .SNK file to a text (human-readable) .DAT format, laid out in up to 10 columns as specified by the user. In the simplest case, you can use this option to dump your .SNK data to a .TXT file for transfer to a spreadsheet program (for example).

You enter the functions you want to dump using WINNOW’s query language (see section 2).

A formatted file can be read by PRISM, but cannot be processed further by WINNOW. The .SNK to .DAT conversion expands the file size by a factor of three (this is the reason that SNOOK’s output is written in binary format).

For example, if you wish to plot particle kinetic energies versus their distance from the (0,0,0) point, use the following inputs:

Column 1: sqrt(rx*rx + ry*ry + rz*rz) {distance}

Column 2: ke/ep                       {kinetic energy in eV}

This will yield a .DAT output file suitable for use by PRISM or MDIPLOT or your own graphing program. Again, it is stressed that up to 10 columns of parameters can be written to your .DAT file.  See PRISM on-line Help for details of handling multi-column files.

The meanings of the symbols are defined in section 2.

7. CONVERT

The Convert option performs a simple conversion of the records in a binary .SNK file to a text (human-readable) .DAT format; this file has the values of the dynamical variables in each record laid out in columns as follows:

rx ry rz px py pz ti ms rw rn

The meanings of the symbols are defined in section 2. SI units are used for dynamical variables; rw and rn are integers.

A converted file can be read by both PRISM  (as well as commercial spreadsheet programs), but cannot be processed further by WINNOW.

8. CLEAR HISTORY (Winnow 1.2 only)

The Clear History option deletes the current history list.

A history list is a list of data previously entered into an input line. To access this data, click the mouse on the arrow (|¯|) which appears in a green box beside the input line, or press the Down arrow key.

Double-click a history list item or hit Enter to select it; press Esc or click the top-left icon to close the history list.  Use mouse or arrow keys to navigate through the list.

The history lists are saved when the program is ended, in a file WINNOW.HST, and are automatically reloaded on program start-up.  Thus the history lists maintain a record of previous inputs over a number of program runs. This can prevent key-work, and facilitate error checking, in connection with query expressions.

9. PRISM (Winnow 1.2 only)

This option runs the data-processing program PRISMError: Reference source not found (if it is installed) under a DOS shell.  One use of this option is to provide a graphical display of data. You may prefer to use your own graphing program for this purpose. [You can run it from Winnow by invoking it from a Dos batch file named PRISM.BAT placed anywhere on your Dos path.]

10. FILE FINDER (Winnow 1.2 only)

The file finder performs a search for files matching the specifications defined by the user. The Dos wildcards (*,?) can be used in file specifications. If the sub-directories box is checked, the search will be carried out in all sub-directories beneath the one specified.

For example, a file specification of ‘\*.DAT’ would locate all of the .DAT files on the current drive if the sub-directories box is checked, and display them in a list box.

The Dos attributes of files and directory are

displayed as:

- SYS  = system file

- HID  = hidden

- READ = read only

- DIR  = directory

- ARC  = archive (normal) file.

Use the arrow/Pg keys to scroll the list-box display or change the highlight focus.

After the search has been done, several file management options are possible:

- Fetch: copies the currently highlighted file to the working directory, leaving the original intact.

- Delete: deletes the currently highlighted file. If, despite the warning message, you delete a valuable file, you can probably recover it using the Dos undelete utility, or a commercial product like Norton Utilities or PC Tools.

- Rename: brings up a dialog box in which you can specify a new name for the currently highlighted file. Like the Dos rename command, this operation (unlike Copy) does not overwrite existing files of the same name.

11. SPECTRUM

This option uses information in a .SNK file to create the ‘spectrum’ (frequency histogram) of some function of dynamical variables. The spectrum is output in the form of a .DAT file eg.: TEST.SNK --> TEST.DAT.This is an important function, because it enables you to look at the distribution of the values of some function (F) of dynamical variables.

The figure below is based on data obtained from a trial run of 625 trajectory simulations in the 600 eV Xe ® Mo(100) system; it shows the distribution of atoms as a function of z-position (in Å), above the sample surface (where z = 0) at the conclusion of the simulations (when all particle energies in the system were < 1.5 eV). Data for z < 1.0 Å are not shown.

The spectrum/distribution reveals that there is a cloud of particles just above the surface which should probably not be counted as sputtered atoms, but rather as hot atoms ejected because of the finite lattice size.

In the Spectrum dialog box, the user needs to specify the function (F) whose distribution of values is of interest; this is done using Winnow’s query language (see section 2).

- For example, to examine the altitudinal angular distribution, specify F as:

altd {altitudinal angle, in degrees}

- For a kinetic energy spectrum, specify F simply as:

ke {particle kinetic energy}

Other inputs required from the user are the minimum and maximum limits of the spectrum, and the number of channels to be utilised by the spectrum.  The query function is calculated for each record in the .SNK file. If the function falls within the spectrum range the appropriate channel count is incremented.

A given channel registers counts for data within a bandwidth ±0.5D, where the interval D is given by: D = (Max limit - Min Limit)/(No. channels - 1)

The spectrum will thus in practice register counts from (Max Limit + D) to (Min Limit - D) i.e. a slightly greater range than that specified by the user, as the figure below shows:

<- D ->

|     |     |     |     channel positions

|     |     |     |     |  counting intervals

<----------------->     range specified by user

<----------------------->  effective range

If you need to create spectra that are functions of angular variables, you need to take account of the fact that the result of an expression like:

atan(py/px)   {azimuthal angle},

is ambiguous (since there are two possibilities, separated by p). You might have to specify additional relations involving py and/or px.

In the physical system the momenta (px,py) and (-px,-py) represent diametrically opposed directions of motion, although their ratios give the same arctan result. In practice, this ambiguity only exists for the azimuthal angle (not the altitudinal/polar angle). To work around it, you first must filter the raw data into a pair of .SNK files containing respectively positive and negative px values. Of course, symmetry may obviate the need for this on some single crystal targets.

For expressions involving the azimuthal and altitudinal angles of motion, you can make use of the predefined variables “phi”, “alt”, “phid” and “altd”  respectively, which always return angular values in the correct quadrant (see definition of the query language for more on these variables).

There is another minor difficulty with angular variables accessed via the a(rc)tan function: the effective spectral range (see above) is at best -p/2 to +p/2, regardless of the size of the spectrum  counting interval (D).  At the limits ±p/2 you will get anomalous count rates (usually 50% of what you expect). These limits are the same for the “alt” variables, but 0 and 2p for the “phi” variables. You may have to combine the counts at the limits by manual editing of the output file.

12. SPLIT (Winnow 1.2 only)

In the unlikely event that your .SNK file exceeds the size limits imposed by WINNOW, you can use this option to break it up into two smaller chunks. You might have to repeat the splitting on the second of these if the original file was very large.

The numbers 1 and 2 are appended to the output filenames. The original input file is unaffected.

13. SPLICE (Winnow 1.2 only)

Allows two .SNK files to be spliced together to form a single .SNK file. Essentially this function is the opposite of that provided by the Split option.

14. SCATTERING RELATIONS

This simple gadget calculates useful scattering parameters, based on standard binary collision formulae.

The user enters the projectile and target atomic masses (M1, M2) and a laboratory scattering angle for the projectile (q1 Lab).

The symbol E0 represents the Lab projectile incident energy, while E1 and E2 represent the energies of the projectile and target respectively, after the collision.

On pressing the <Enter> key or Evaluate button, the following quantities are calculated:

- q2 Lab: This is the scattering (recoil) angle of the target.

- q COM (1), q COM (2): These are the scattering angles in the centre-of-mass coordinate system (identical for both particles). If M1 > M2, the Lab projectile scattering angle must lie between 0 and a maximum value ( qmax = arcsin(M1/M2) ). In this case there are two possibilities (1) and (2) for the COM angle, which still ranges from 0-180°.  (See a textbook on classical dynamics for an explanation.) For M1 £ M2, there is only one COM angle per Lab angle.

- E1/E0, E2/E0: These energy ratios reflect the energy transferred during the collision. If M1 > M2, there are two possibilities for energy partition. These energy ratios are completely independent of the nature of the interaction potential or primary projectile energy.  (The target is assumed to be stationary initially.)

15. SIZE LIMITS

There are essentially no size limits for input and output files for version 2.1 of Winnow.

The various processing options for Winnow 1.2 are able to handle large data files with minimal restrictions as specified below:

- Filter, Format Columns, Averages, Convert: No limits on size of input and output (i/o) files.

- Collate: No limits on i/o file sizes per se, but only 8090 unique values of the collation index (either the row number, rw, or the run number, rn) can be accomodated.

- Spectrum: No limits on i/o file sizes per se, but the number of channels specified for the spectrum .DAT file cannot exceed 8090.

The program checks to see that these conditions are satisfied.

16. FILE FORMATS

.SNK

The .SNK file is the native file format for the output written by SNOOK. It consists of ‘TSnookRec’ binary records (40 bytes = 8x4 + 2x4 per record) whose Pascal definitions are:

TSnookRec = record

rx,ry,rz,px,py,pz,ti,ms: single;{4-byte}

rw,rn: integer; {4-byte}

end;

You can quickly count the number of records in a .SNK file by dividing the file size by 40. (In Winnow 1.0 the record size was 36 bytes.)

The atomic positions (rx,ry,rz), momenta (px,py,pz), mass (ms) and the elapsed time (ti) are all expressed in SI units. Note that the dynamical variables are calculated to double precision by SNOOK, and only rounded off to single precision for storage purposes. The rw (row number) variable = 0 for the projectile, otherwise it is > 0, the value corresponding to the row the atom occupied in the .TRG file used by SNOOK. The rn (run number) variable likewise corresponds to the row of the .IMP file (= 1,2...).

.DAT

The .DAT file is a text file consisting of two or more numeric columns separated by arbitrary amounts of ‘whitespace’.  This is the format used for input to PRISM (Winnow 1.2) and the Grapher (Winnow 2.1).

.TXT

The .TXT file is any text file not readable by PRISM or the Grapher.

17. COMMAND VIEWER (Winnow 1.2 only)

This viewer maintains a log of the data processing commands activated - useful as an aide memoire. The viewer is empty initially.  If the F9 key is pressed, the current list is pasted on the Clipboard, from where it can be viewed (via the Edit|Show Clipboard command), saved as a file (F2 key), or edited further.

18. APPENDIX: QUERY EXAMPLES

In this appendix, some further examples of query expressions are given. Recall that these arise in 2 contexts:

- Function specifications

- Relational expressions (Filter operations)

The relational expressions combine function specifications with relational and logical operator symbols. Relational expressions are only used by WINNOW’s Filter option. In the examples below, comments are enclosed in curly braces {thus}: comments can be used freely in WINNOW, since they are ignored by the parser.

The examples below show how to build up relational expressions by combining several simple relations.

Function (expression) specifications

- ke/ep {particle kinetic energy in eV}

- atan(pz/sqrt(sqr(px)+sqr(py)) {altitudinal flight angle, y}

- alt {altitudinal flight angle, y - same as preceding}

- rz*1e10 {z-position in Å: surface is at rz = 0.0 by default}

- ti*1e15 {elapsed time in fs}

- rw {index of the particle = 0,1,2..; 0 is the projectile}

Relational (logical) expressions

The following examples show what is possible in terms of relational expression combination and nesting. However, in practice it may be better to use a sequence of simpler expressions, especially if the query language is unfamiliar.

[atan(pz/sqrt(sqr(px)+sqr(py))> 50*2*pi/360]

{all particles flying at altitudinal angles greater than 50°}

An equivalent and  better way to express the foregoing filter in Winnow 1.2 is:

[alt > 50*2*pi/360] (or better still: [altd > 50.0]).

[rz > 0.0] & [altd > 50.0]

{particles emitted at altitudinal angles greater than 50°}

[ke/ep > 10.0] & [rz > 0.0] & [altd > 50.0]

{particles with energy > 10 eV which are emitted at altitudinal angles greater than 50°}

[ti*1e15 < 300] & [ke/ep > 10.0] & [rz > 0.0] & [altd > 50.0]

{particles with energy > 10 eV which were emitted at altitudinal angles greater than 50° before 300 fs had elapsed}

[ti*1e15 < 300] & [[ke/ep >= 10.0] & [ke/ep =< 50.0]] & [rz > 0.0] & [altd > 50.0]

{particles with energy in the range 10-50 eV which were emitted at altitudinal angles greater than 50° before 300 fs had elapsed}

The effect of the preceding example could also be achieved by the following sequence of 4 shorter filtering operations:

- [ti*1e15 < 300]

- [[ke/ep >= 10.0] & [ke/ep =< 50.0]]

- [rz > 0.0]

- [altd > 50.0]

Exercise 1.

What would be the effect of substituting:

[ke/ep <= 10.0] & [ke/ep >= 50.0]

instead of the second item above?

Answer.

The answer is that you would get no output from your filtering operation, since this expression looks for particles with KE satisfying two mutually exclusive conditions (KE £ 10 and KE ³ 50).

Exercise 2.

What would be the effect of substituting:

[ke/ep <= 10.0] | [ke/ep >= 50.0]

instead of the second item above?

Answer.

The answer is that your output would catch all particles except those in the energy range 10-50 eV.

The .RUN input file of the SNOOK project (created by the SPIDER utility) specifies how often (and when) dynamical variables information will be written to disk. This will depend on your needs. For a trajectory plot, frequent writes are necessary as the system evolves. For sputter coefficients, you only need to capture the configuration at the end of the simulation.

One interesting class of expression that WINNOW cannot handle is simultaneous functions of the dynamical variables of two or more atoms: for example, the separation between two atoms: Ö((x1-x2)²+(y1-y2)²+(z1-z2)²). This capability may be added in a future version of WINNOW, if there should be any demand for it.

This condition enforces programming discipline on the user: not a bad thing if you consider that the results may get published somewhere. See section 2.8 for more information on numeric types.

See section 5 for information about the Collate option in WINNOW.

PRISM is a public domain spectral data analysis package distributed separately by the author. It can be obtained through any SIMTELNET mirror site as PRISM10.ZIP in the msdos/science directory.

Clearly, it is no easy matter to extract a sputter coefficient, since you must decide which super-surface atoms to count and which to leave out. The following data obtained with SNOOK for 0.5 keV Ar normally incident on Cu(100) illustrate how the sputter coefficient varied as the super-surface cut-off boundary was moved between 3.0 and 6.0 Å:

Boundary position ÅCalc. sputter coeff.3.06.83.55.94.05.35.03.86.03.0

For comparison: Harrison, Rad. Effects 70 (1983) 1 (fig. 8) calculates a coefficient 4.5-5, while Hou and Eckstein (Nuclear Instr. Meth. B13 (1986) 324, fig. 1) get a value of about 2.8.